
											Form-I

TENDER FORM FOR PROVISION OF FENCING, TOE WALL, DRAIN AND LIGHTS FOR LAWN TENNIS COURT AT ARMY PUBLIC SCHOOL NO 2, CW LINES, AMBALA CANTT  
FOR THE FINANCIAL YEAR 2026-27

1.	Name of Firm/Contractor 				:_______________________
with full address and tele No.				
								________________________							
								________________________	
	
2.	GST No of the Firm/Contractor. 			:_______________________

3.	Scope of Work. 	Construction of fencing, toe wall, drain and lights for Lawn Tennis Court for students at Army Public School No 2, CW Lines, Ambala Cantt as per specification.

(a)	Fencing. 	2”x2” GI Chain Link jalli, 10 Gauge, 3 mm, All vertical pipes in square or rectangular.  All horizontal angles are (40x40x5)10’ fencing all around, pipes at base, middle and top, price includes grouting, erection and paint.

(b) 	Toe Wall + Drain.     1’ to 1.5’ high brick wall in total approx. 0.5’ below ground & 1’ above, 9” thick, 6” – 9” wide open saucer drain.

[bookmark: _GoBack](c)	Lights.      Lighting Poles specs 9 mtr octagonal GI pole above ground, on each pole to accommodate 4 light each, grouting primer & painting, Lights 100 Watts LED with Osram/Philips Brand, Wiring, MCB 63 Amp, MCB Boxes, Wiring from base to lights.

4.	Schedule of Payment. Working period for completion of construction work is 45 days from the date of start of work. 

	Ser No
	Type of  Work
	Time to be taken to complete the work
	Payment schedule

	Remarks


	(a)
	Provision of fencing, Toe Wall, Drain and Lights for Lawn Tennis Court for students at Army Public School No 2, CW Lines, Ambala Cantt as per specification.
	45 days
	Total cost
(on completion only)
	This payment will be released after producing 10% security as FDR of total construction cost. If not deposited, then the 10% security amount to be deducted from your total payment.


 
Note:-     10% cost of total cost of the project will be deposited as security in the form of FDR in favour of Principal APS No 2, CW Lines, Ambala Cantt as bank Guarantee. After 6 Months of completion of the work in all respect by the PMG, aspects have been checked and are found as satisfactory, the FDR will be returned.

Special Conditions of Contract

5.	Time for completion of the work shall be 45 days from the date of signing of the contract agreement. No separate work order shall be issued for commencement of the work. 

6.	Date of completion shall be the date on which completion certificate is issued to the contractor which shall only be done after rectification of defects; if any pointed out by the accepting officer of the contract/his representative to the contractor upon receipt of written confirmation of work completion from the contractor.
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7.	Failure to complete the work within the period of completion shall invite reduction of compensation at the rate of 0.2% of the whole of contract amount per week till completion of the work to the satisfaction of the accepting officer. The accepting officer may consider grant of extension of time beyond the initial period of completion in case he is fully satisfied that the delay is due to circumstances beyond control of the contractor.

8.	No sub-letting of any part or portion of the work shall be permitted and it shall be the sole responsibility of the contractor undertaking the work to complete the work within time.

9.	No advance payment shall be made and the payment shall be made progressively upon completion of stages; which shall be specified in contract agreement. 

10.	The rates quoted by the contractor shall include all applicable taxes, octroi, transportation, loading/unloading and labour charges. No additional payment other than what has been quoted for in the tender shall be payable to the contractor under any circumstances. 

11.	The Accepting Officer reserves the right to modify/add/reduce the scope of work due to site or functional requirements which shall be binding on the contractor to execute with appropriate financial effect if any as per existing market rates in Ambala. 

12.	Periodic progress and quality of work will be monitored by a Project Monitoring Group (PMG) to be detailed by HQ 2 Corps and accordingly payment to the contractor at each stage will be cleared by the PMG. The quality of works completed will be worked out by the Architect in consultation with the PMG in the presence of contractor.
			
13.	Earnest money of Rs 1,00,000/- (Rs one lakh only) to be deposited with school through DD in favour of Principal Army Public School No 2, CW Lines, Ambala Cantt. In case the L-1 vendor withdraws his bid after opening of tender, the earnest money shall stand forfeited.

14.	After the allotment of contract, in case the “Contractor” withdraws within three months, the Earnest money and 10% payment retained as security shall stand forfeited.

15.	Electricity and water charges at rates charged by govt agencies shall be deducted from the payment due to the contractor for the units consumed by the contractor for execution of work. 

16.	The rates quoted shall be valid for a period of 180 days from the date of opening of the financial bid. 

17.	Shelter for laborers shall be under own arrangement of the contractor (Outside the school premises).  

18.	The contractor shall also submit copy of police verification from police authority of the area where the registered office of the firm is located/noticed copy of valid passport or of proprietor/each partner/Director.

19.	The contractor shall employ only Indian Nationals as he representatives, servants and workmen and ensure their police verification to verify their antecedents and loyalty before employing them for work and shall satisfy the Principal APS No 2, CW Lines, Ambala Cantt as to their bonafide.

20.	The contractor shall take all steps to avoid any damage, mis-happening, accident etc to the workmen engaged by him to carry out the work and school will have no responsibility in this regards. 

21.	Accepting officer reserves the right to resort to re-tender incase the rates quoted are found to be unreasonable.
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22.	Last date of receipt of sealed tenders duly completed is 1000 hrs on 01 Jun 2026. All bids received after 01 Jun 2026 (1000h) shall be considered invalid and shall not be opened. Tenders will be opened on 01 Jun 2026 at 1300 Hrs.

23.	Bidders shall be deemed to have read, understood and willing to abide by this document when they submit their bids. Accordingly, this form duly signed on each page with office stamp of the firm shall be submitted alongwith the bid documents; failing which the bid shall be considered invalid and no cognizance shall be taken of it. 
		

	


								______________________________
Dated :                 2026					(Sign of Proprietor/Partner of the Firm)




											Form –II

					COMMERCIAL/FINANCIAL BID


	S
No
	Item Description
	Qty
	Basic Rates
in figures
	GST % & amount

	Total amount
with Taxes
	Total amount in words

	
01.

	Provision of fencing, Toe Wall, Drain and Lights for Lawn Tennis Court for students at Army Public School No 2, CW Lines, Ambala Cantt as per specification.
	01
	
	
	
	














		
								_____________________________
Dated :   		    2026					(Sig of Proprietor/Partner of the Firm)







ELIGIBILITY  FOR PROVISION OF FENCING, TOE WALL, DRAIN AND LIGHTS FOR LAWN TENNIS COURT AT ARMY PUBLIC SCHOOL NO 2, CW LINES, AMBALA CANTT  
FOR THE FINANCIAL YEAR 2026-27



1.	Contractors enlisted with MES/CPWD/PWD/RAILWAYS BUILDING for executing work more than 50 lacs shall be considered qualified provided they provide all valid documents.

2.	Firm not enlisted will also be considered if they shall submit documents of having satisfactorily completed requisite value work.  

3.	GST Registration number not enclosed with documents will disqualify the technical bid.

4.	Details of highest valued similar nature of works executed during last 5 years with date of completion will be enclosed.

5.	Solvency certificate and working capital issued by schedule bank will be Enclosed/Audited balance sheet certified by CA for confirmation of financial soundness.

6.	Details of immovable property/fixed assets will be enclosed.

7.	Annual turnover certificate for last 2 years issued by CA, along with relevant pages of audited balance sheet in support thereof.   

8.	Bidders shall ensure they are holding Provident Fund Code Number, if applicable, and they shall also ensure  compliance of EPF & MP Act 1952.

9.	Copies of Last five ITR returns : _______________________


	Name of Company
	

	GST No
	

	Bank Name
	

	Account No
	

	IFSC Code
	

	Bank  Address
	

	PAN  No
	

	E-mail address
	

	Phone No
	

	Postal Address
	

	Experience in the field
	

	
	





Signature of Contractor______________					
									

					
